## Slide 1: Understanding Conformance Testing Using the NIST HL7 v2 eDOS-LIS Validation Tool
Conformance Criterion:
Create laboratory order compendium (eDOS*) messages
Robert Snelick, NIST (rsnelick@nist.gov)
V1.0 August 2, 2016
*Electronic Directory of Services

## Slide 2: Purpose
Provide an additional resource to explain the process of HIT Module conformance testing related to HL7 v2 eDOS-Lab Information System (eDOS-LIS) Messaging
Describe NIST approach for assessing and validating the test messages
Provide an overview of the testing requirements

## Slide 3: Table of Contents
List of Resources
Scope of Conformance Testing
Create laboratory order compendium testing criterion and conformance standards
Testing Process Diagram
Testing Workflow Diagrams
Explanation of Test Scenarios and Test Cases/Steps
Example Test Step Documents
Test Tool Overview and Example Test Tool Screen
Additional Resources

## Slide 4: Resources
  Test Tool Web Site (http://hl7v2-edos-r1-testing.nist.gov/edos-r2/#/home )
  Validation Tools
  User Documentation
    Normative Test Process Document (on Test Tool Documentation Tab)
    S&I Framework Laboratory Test Compendium Framework (eDOS) Implementation Guide
  (http://www.hl7.org/implement/standards/product_brief.cfm?product_id=151 )
    eDOS-LIS Tool Quick Reference Guide (In Process)
    eDOS-LIS Tool Tutorial (In Process)
  Release Notes for each version of Test Tool
  (on Test Tool Documentation Tab)
eDOS Test Tool Google Group for submitting questions to the Test Tool developers (https://groups.google.com/forum/#!forum/hl7v2-lab-compendium-testing)

## Slide 5: Scope of Conformance Testing - eDOS-LIS
  The conformance criterion is focused on testing the capability of an HIT Module (e.g., LIS or EHR-S lab module) to create new and update HL7 laboratory order compendium (eDOS) messages for electronic transmission
  Site-specific configuration of the HIT Module is not being tested
  Method of transmitting the eDOS messages is not being tested
Testing is directed at a Health IT Module (product), not specific instances (installations) of the Module
  Testing encompasses only specific use cases described in the eDOS Implementation Guide (IG)
  Testing does not attempt to address the entire spectrum of use cases found in practice
  How the eDOS messages are exported from the HIT Module and received by the eDOS Test Tool is out of scope
  Receiving EHR-S are not being tested using the LIS Test Plan in the eDOS Test Tool (receiving EHR-S are being tested using the EHR Test Plan in the eDOS Test Tool)
Testing focus and scope are narrow
  The HIT Module is required to demonstrate the ability to create HL7 v2 eDOS messages containing clinical laboratory tests; specific test data for the messages are provided in Test Cases
  The test data and Test Cases do not cover all possible clinical lab tests; through consultation with clinical laboratory experts, a subset of key lab tests were selected for testing
  The format in which the test data are displayed on the screen of the HIT Module is not part of the testing
HIT Module conformance testing is driven by the test data
Clinical laboratory subject matter experts, in collaboration with the National Institute of Standards and Technology (NIST), provided the Test Scenarios, Test Cases, and Test Data for the Laboratory Order Compendium (eDOS) conformance testing

## Slide 6: Conformance Criterion - eDOS-LIS
Create laboratory order compendium testing evaluates the capability for an HIT Module to generate
New eDOS messages to create a lab order compendium
Update eDOS messages that add-to or modify the existing lab order compendium
According to
  HL7 Version 2.5.1 Implementation Guide: S&I Framework Laboratory Test Compendium Framework Release 2, DSTU Release 2 - US Realm, September 2015 (Referred to as the eDOS IG)
  LOINC® version 2.50

## Slide 7: Conformance Standards - eDOS-LIS
Electronic incorporation and transmission of lab order compendium messages
  HL7 Version 2.5.1 Implementation Guide: S&I Framework Laboratory Test Compendium Framework Release 2, DSTU Release 2 - US Realm, September 2015
Vocabulary for representing electronic health information
  Logical Observation Identifiers Names and Codes (LOINC®) Database version 2.50, a universal code system for identifying laboratory and clinical observations produced by the Regenstrief Institute, Inc.

## Slide 8: Conformance Standards Document – eDOS-LIS
HL7 v2.5.1 eDOS Implementation Guide, Release 2, DSTU Release 2, Sept 2015
http://www.hl7.org/implement/standards/product_brief.cfm?product_id=151

## Slide 9: Vocabulary Standard Web Site – eDOS-LIS
http://loinc.org/
LOINC® Database version 2.50

## Slide 10: Create eDOS Messages Testing Process
The HIT Module (e.g., LIS or EHR-S lab module) is the system being tested. The HIT Module is required to create messages that meet the conformance and vocabulary standards (See previous slides).
Test data can be entered into the Module directly via the user interface (manually) or can be imported via an incoming message (using any automated method).
The Module is expected to process the test data to create an eDOS message. This message is exported* from the Module and imported* into the NIST Test Tool for automated validation.
Test data are available through the Test Tool via the Test Steps. Each Test Step includes a Test Story that provides the context, a Test Data Specification that lists the test data, a Message Content Data Sheet that shows a conformant message (in a table format) including a detailed profile of the required elements, a Test Message, and (where applicable) a Juror Document.
*How the message is exported/imported/received is not in-scope for certification testing
NIST Test Tool (Validation Tool)
Diagram does not show testing process for Acknowledgment messages
HIT Module LIS or EHR-S Lab Module
(System under Test)
EHR-S
HL7 eDOS IG 2015
Direct Data Entry
MFN Elements
Conformance Test Scope
Message
Exported*
MFN Message
Message
Imported*
Master File Notification (MFN) Message Elements

## Slide 11: Create eDOS Message Testing Workflow Diagram
This diagram shows
  How the steps of the create lab order compendium test are sequenced
  When the Test Tool is to be used
For Smoke Test, Tester proceeds now to MFK Testing Workflow shown on next slide

## Slide 12: Send Acknowledgement Testing Workflow Diagram
This diagram shows
  How the steps of the send Acknowledgement* (MFK) test are sequenced
  When the Test Tool is to be used
For Smoke Test, Tester proceeds now to Step 10 of the eDOS Message Testing Workflow shown on previous slide
*Acknowledgement messages are tested only in the Smoke Test Scenario

## Slide 13: Test Scenarios and Test Cases/Steps
Test data are available in the eDOS Test Tool via the Test Scenarios provided in the LIS Test Plan
The Test Scenarios are composed of Test Cases and Test Steps
Each Test Step includes a Test Story, Test Data Specification, Message Content Data Sheet, Test Message, and (where applicable) a Juror Document
    The HL7 Version 2.5.1 Implementation Guide: S&I Framework Laboratory Test Compendium Framework (eDOS) interoperability standard defines two Profile options relevant for conformance testing
The Tool provides three Test Scenarios for the GU Profile options and three for the NG Profile options
For the purpose of the testing, conformance to only one Profile option is required — the Vendor will inform the Tester as to which Profile option their HIT Module is conformant

## Slide 14: Test Scenarios and Test Cases/Steps (cont’d)
The HL7 Version 2.5.1 Implementation Guide: S&I Framework Laboratory Test Compendium Framework (eDOS) interoperability standard defines
Four transaction message types relevant for eDOS conformance testing
  MFN^M08^MFN_M08 – Master File Notification Test/Observation (“M08”)
  MFN^M10^MFN_M10 – Master File Notification Test/Observation Batteries (“M10”)
  MFN^M04^MFN_M04 – Charge Description Master File Message (“M04”)
  MFN^M18^MFN_M18 – Test/ Observation (Payer) Master File Message (“M18”)
Four Acknowledgment message types relevant for eDOS conformance testing
  MFK^M08^MFK_M01 – Master File Acknowledgement Test/Observation
  MFK^M10^MFK_M01 – Master File Acknowledgement Test/Observation Batteries
  MFK^M04^MFK_M01 – Master File Acknowledgement Charge Description
  MFK^M18^MFK_M01 – Master File Acknowledgement Test/Observation (Payer) Master File Message

## Slide 15: Test Scenarios and Test Cases/Steps (cont’d)
Test Scenarios/Cases/Steps for the two Profile options are provided in the LIS Test Plan in the eDOS Test Tool
This figure shows a sub-set of the Test Scenarios/Cases/Steps in the LIS Test Plan for the GU Profile option
The Tester shall execute all three Test Scenarios for either the GU or NG Profile
Profile option
Test Scenario
Test Case
MFN Test Step
Test Scenario
Test Case
MFK Test Step
MFN Test Step

## Slide 16: Test Scenarios and Test Cases/Steps (cont’d)
Table below shows Test Cases/Steps for Smoke Test and Initial Load

## Slide 17: Test Scenarios and Test Cases/Steps (cont’d)
Table below shows first three of the six Update Test Cases in the Tool

## Slide 18: Test Scenarios and Test Cases/Steps (cont’d)
Table below shows last three of the six Update Test Cases in the Tool

## Slide 19: Test Data Documents* for Each Test Step
Each Test Step includes a narrative Test Story that describes a real world situation and provides context for the Test Step
Along with the Test Story description is information about PreConditions, PostConditions, Test Objectives, and Notes to Testers
Example: Test Data pdf document for the EDOS_0.0_1.1-M08_GU Test Step for the Smoke Test
Test Story
*Available for viewing online and via downloaded pdf or txt file

## Slide 20: Test Data Documents for Each Test Step (cont’d)
20
Each Test Step includes a Test Data Specification that
  Lists data associated with the Test Story
  Consists of typical information found in the clinical setting
A test message is generated using these data and the HIT Module functions
Test Data Specification
Example: Test Data pdf document for the EDOS_0.0_1.1-M08_GU Test Step for the Smoke Test
Notes: 20

## Slide 21: Test Data Documents for Each Test Step (cont’d)
21
Each Test Step includes a Message Content Data Sheet that shows a conformant message instance
The category of the test data is listed in the Categorization column
The Categorization indicates how the data in the messages that are imported into the Tool are assessed by the validation engine
Message Content Data Sheet
Example: Test Data pdf document for the EDOS_0.0_1.1-M08_GU Test Step for the Smoke Test
Notes: 21

## Slide 22: Test Data Documents for Each Test Step (cont’d)
A test message is provided that coincides with the Test Story for the Test Step
For the LIS Test Plan
  The eDOS Master File Notification (MFN) test messages are exported (sent) by the HIT Module being tested and are imported (received) by the eDOS Test Tool (acting as the EHR-S)
  For the Smoke Test only, a Master File Acknowledgement (MFK) message is sent by the eDOS Test Tool and received by the HIT Module in response to each Master File Notification message
Example Test Message
Example Test Message for the EDOS_0.0_1.1-M08_GU Test Step for the Smoke Test
Example Test Message for the MFK_0.0_1.1-MFK_M08_GU Test Step for the Smoke Test

## Slide 23: Test Data Documents for Each Test Step (cont’d)
23
Each (receiver) Test Step includes a Juror Document*, a checklist used by the Tester/Inspector to assess and record whether the eDOS data in the Test Message are incorporated into the HIT Module
Juror Document
Example: Test Data pdf document for the
MFK_0.0_1.1-MFK_M08_GU Test Step for the Smoke Test
*A simple Juror Document for each Acknowledgement message is used only for the Smoke Test Scenario
Notes: 23

## Slide 24: NIST eDOS-LIS Test Tool Overview
Tool Key Capabilities | 
Context-based testing / EHR Test Plan | Used for conformance testing driven by test data Validates eDOS messages created by HIT Modules in accordance with the ONC S&I Framework Laboratory Order Compendium (eDOS) implementation guide (IG) Provides Juror document for inspection testing of Acknowledgement (MFK) messages
Profile Viewer | Provides a browse-able version of the conformance profile that encapsulates the requirements. Profile Viewer tab is accessible in Context-based testing once a Test Case or Test Step is “loaded”. Can be used to assist in the interpretation of message errors.
Value Sets Browser | Provides a browse-able view of the Value Sets and Vocabulary requirements. Value Sets tab is accessible in Context-based testing once a Test Case or Test Step is “loaded”. Can be used to assist in the interpretation of value set errors.
Documentation | Provides access to documents that assist in using the Tool for conformance testing (including the NIST Normative Test Process Documents, Implementation Guides, and Release Notes).
  Purpose: The tool validates eDOS messages created by HIT Modules and is intended to be used for conformance testing according to the standards listed on the Conformance Standards page of this slide set
  No registration or log-in credentials are required. Simply click on the link below to access and use the Tool
  NOTE: The Test Tool (.war file) can also be downloaded and installed locally.
  NOTE: Web Application is compatible with Firefox, Chrome, or Safari. Recommended browsers are Firefox and Chrome.
  Register to Google Group at: https://groups.google.com/forum/#!forum/hl7v2-lab-compendium-testing to ask questions and provide feedback.
http://hl7v2-edos-r1-testing.nist.gov/edos-r2/#/home

## Slide 25: NIST eDOS-EHR Test Tool Screen Shot
Click on arrow to open LIS Test Plan.
3
Test Step Title and Test Story tab display.
5
Test Selection view of page displays.
2
Open eDOS Validation tool using link:
and click on Context-based
http://hl7v2-edos-r1-testing.nist.gov/edos-r2/#/home
1
Click on arrows to expand the Test Scenarios and Test Cases. Click on a Test Step.
4
Click on Load Test Step button to proceed with conformance testing for the Test Step.
6
HIT Context-based Validation
This feature is used to test HIT Modules for conformance to the eDOS standards. The majority of the validation involves automated testing that assesses the eDOS messages created by the Module and sent to the EHR-S Test Harness. Another type of validation pertains to the inspection testing. This process utilizes an inspector to ascertain if the Acknowledgement (MFK) messages created by the EHR-S Test Harness are processed correctly by the Module. The Juror Document guides the inspector through the assessment process.

## Slide 26: Resources
  Test Tool Web Site http://hl7v2-edos-r1-testing.nist.gov/edos-r2/#/home provides
  Test Tool (API, Web Application, and Desktop)
  Test Cases/Steps, Test Stories, Test Data, Message Content Sheets, Example Messages, Juror Documents
  User Documentation
  Testing Artifacts
    Message Profiles
    Value Sets
    Validation Reports
Contact
  Rob Snelick (rsnelick@nist.gov)